Please be aware that SOP documents contain links to the HMPPS exceptional delivery platform, the link is not to be shared externally. Colleagues wishing to share content hosted on the platform externally are asked to download and redact the content appropriately, and to be aware of any security classifications before doing so. All content hosted on the platform is to be treated as OFFICIAL.

Revision from Previous Version: General updates made within the hazard description box, change in CEV precautions, application of the SOP in relation to overarching documents and mechanisms. Changes made to reference links and reflected changes made throughout in relation to HMP overarching documents.

Application of this SOP: The full contents of this SOP are to be applied irrespective of the local COVID-19 risk (whether at any particular Stage in the National Framework, or at a baseline – increased measures or response action position during Stage 1). Any variation from this application is specified in the SOP.

Brief Description of Task: The use of a Continuous Positive Airway Pressure Machine (CPAP) within a residential room.

Particular Hazards: COVID-19 is a highly infectious viral disease. Methods of transmission are from close contact with infectious persons (aerosol droplets), contact with contaminated surfaces, and via aerosols (non-close contact). Groups of people have been identified as more vulnerable or at risk of illness severity, this includes patients with serious illness requiring invasive treatments including periods of hospitalisation and intensive care unit provision. Full vaccination significantly decreases the likelihood of severe illness from currently circulating variants. GOV.UK Coronavirus will continue to a provide any change in signs and symptoms and address the potential for action on variants to current vaccines.

PPE Quick View: Response to CPAP – occupant confirmed COVID-19 negative via LFD FRSM GLOVES APRON EYE PROTECTION Response to CPAP – occupant untested/symptomatic/positive COVID case (non-High Security Prisons) BP-RPE GLOVES BIO SUIT Response to CPAP - untested/symptomatic/positive COVID case (High Security Prisons) FFP GLOVES BIO SUIT EYE PROTECTION

Special Safety Precaution Measures: Those who were previously considered CEV in the community are now being advised to take advice from their clinician about whether any additional precautions may be advisable for them based on their individual circumstances. Reasonable adjustments will be documented in a Personal Management Plan (PMP). CPAP must only be used in a room with a single occupant and with the door closed. Do not open a room/cell door or enter a room/cell when CPAP is being used unless there is an emergency situation that requires immediate attention (see emergency procedures section).

Special Equipment, Procedures or PPE needed: Local arrangements must be made in discussion with the occupant to ensure the CPAP machine is only operated when in a room and the door closed (this would normally be during a lock up period). From the local allocation of LFD tests, prisons will arrange local LFD testing of CPAP prisoners using LFD tests. The testing should be supervised or designed in a way the outcome result of the test may be confirmed to staff. Prisons will design a local testing protocol as required and in reference to the HMP National testing Strategy. For the purposes of this SOP, differential PPE response requirements are outlined in respect of the LFD test outcomes. Staff should not enter the room other than in an emergency. Staff will adopt the measures outlined below. Prisoners should also be informed not to visit a room where a CPAP has been in operation. Disinfection solution will be provided to the occupant for the purposes of hard surface cleaning in the room. The occupant will be asked to clean areas at least morning and evening and 20 minutes following any use of the CPAP machine. Alcohol and Chlorine products are not to be provided, disinfection solutions and general cleaning products should be issued. After the use of the CPAP the occupant must disinfection all hard surfaces, this must take place 20 minutes after use. Staff will monitor the use of products to gauge whether cleaning is being carried out, where products are not being used regularly staff will discuss further with the occupant. Each Prison will assess the most appropriate location for the identified PPE to be located in the event of a need to deploy to a cell where a CPAP is located. Three BP-RPE/FFP sets should be available within the Prison for this purpose. Staff on the unit (where the CPAP is located) must have completed the PPE awareness training and must also complete the training for the use of the Battery Powered RPE Kits/FFP Fit Tested (Prisons will identify the numbers and names of staff at each site to be trained and available to use Battery Powered RPE/FFP). When a CPAP machine is being operated – a clear sign and notice must be displayed on the room door alerting persons not to enter. Staff must also ensure the observation panel is intact, if the panel is broken it must be replaced the same day, or the prisoner moved to an alternative room. General considerations should be given locally via the local decision log as to the most appropriate place for a resident to be located where a CPAP is required. Staff must be briefed on the emergency arrangements specified in the event of a need to enter. PPE will be used for the purposes of visiting prisoners whom have used CPAP within their rooms within the last 20 minutes. Separate Standard Operating Procedures describe other circumstances outside of this procedure (e.g. CPR, and room visits). This special procedure provides further requirements in the event of a need to access a room in an emergency where CPAP is in use. Negetive Confirmed LFD Test PPE – ( staff to donn prior to entry): 1. Surgical Mask 2. Nitrile Glove 3. Apron 4. Eye Protection (where risk assessment indicates) Positive Confirmed Test/Symptomatic/Untested. PPE – Non High Security Prisons ( staff to donn prior to entry): 1. Battey Powered RPE 2. Nitrile Glove 3. Overalls with hoods PPE - High Security Long Term Estate Prisons (staff to don prior to entry) 1, FFP2/3 Masks 2. Nitrile Gloves – extra long 3. Full Body Overall with hood. 4. Eye protection Equipment: 1. Clinical waste bags ( x1) 2. Hand sanitisation (60% alcohol rub) – ( x1) 3. Access to hand washing facility post task. Door handles and observation flaps to be disinfected as part of the current cleaning guidance. Hand sanitisation to be available to the staff immediately after completion of the tasks and at the point where used PPE is placed into clinical waste bags. Clinical waste bags are to be removed from residential units at the earliest opportunity and placed within the local clinical waste containers. Staff must wash their hands and faces after the task of entering a room where a CPAP is being used. Prisons are required to ensure they are up to date with all relevant HMPPS COVID-19 guidance especially regarding identification and categorisation of a symptomatic/confirmed person (this information may change regularly) In the event BP-RPE/FFP equipment were to be dislodged during a response the member of staff will go home from work (after washing and changing their clothes). They will then self isolate and follow National testing guidance and contact trace instructions via the local HRL. In the event C&R was deployed and movement of staff and the resident took place to the segregation unit, areas connected with this movement will require disinfecting afterwards. This will be applied using chlorine detergent at a rate of 1000 ppm. All pedestrian movements in this area will be restricted until the area has been cleaned. RPE Cleaning Measures Instructions on the cleaning requirements for the battery powered RPE are contained within the attached documents. These require application of cleaning to the external elements of the kits (and internal face shield) with chlorine-based fluid. Using TitanChlor tablets, mix a solution of 1000 ppm chlorine (this is dependent on the tablets being either TitanChlor or Titan Chlor plus – please refer to dilution rates on each tub or packet). To clean the sets please do within a well-ventilated area. Nitrile gloves will be worn when mixing the TitanChlor solution and cleaning the sets. Apply a damp cloth with the solution to the areas specified within the attached sheet. This must be undertaken as soon as possible after each set has been worn. Please note, the battery area and filters must not have contact with the fluid. The sets must be securely stored and left to dry naturally. Where possible kits should be rotated so that storage of used kits allows 72 hours. When the kits are issued to users the internal visor and hood element can be wiped with a sterile alcohol 60% wipe.

Emergency Procedures, and/or Contact Point: Prisons will provide local and specific details as required. The below aspects should be included. In the event the occupant of the room using a CPAP is a confirmed COVID-19 case, or symptomatic (in PIU conditions) – Battery Powered RPE/FFP will be used when making deliveries to a room (see also SOP – Room visits). In the need to enter a room for an emergency situation where a CPAP machine is operating. 1. Asses the emergency via dialog or via the observation panel. 2. Don PPE as described above. 3. Do not remove PPE whilst in the occupant’s room Prisons will design Local Operating Procedures for use. These will provide the detailed steps as required in each prison.

Documents – Surgical Masks & FFP guidance for fit: Link to AGP guidance: https://www.uhb.nhs.uk/coronavirus-staff/aerosol-generating-procedures.htm

Annex: Hand washing guidance/general donning & doffing of PPE/HMPPS PPE selection diagram and use of hand rub